PFue-II MANUAL

Tested Operating System: Windows 10 (64 Bit)

Needed Software: (Must install before using PFue-II)

- Pylon 5.0.12 Camera Software Suite Windows

Download Link: https://www.baslerweb.com/en/sales-support/downloads/software-downloads/pylon-5-0-12-windows/

Setup Guide:

- Connect all wires between robot and PC/laptop

- On PC/laptop >> set serial ports

“COM8” for USB2Dynamixel

“COM18” for ArduinoNANO

User Guide:

- Open the “PFue-II” program

- Input a patient’s info including name, surname, and HN no.

- Input a target graft amount (unit: FUs), then press “Enter” on your keyboard (The system will calculate approximate total operating time in hour unit for the input target amount

- Click on a “START” button and follow dialogs that will pop up on the screen

- Then, the main window will show up

- Click on a play sign (yellow) button on at the bottom of the main window to start the process (there are warning dialogs pop up before start the process)

- To pause the camera view, click on the pause sign (gray) button

- To stop the process and quit the program, click on the stop sign button and follow the pop-up dialogs.